CONFINED SPACE ENTRY PERMIT AND EMERGENCY PROCEDURES (RESCUE PLAN)

This document is provided as an allowable option for use by South East Water employees and contractors.

Description of Activity

| Site ID or M/H No. |  | Site address: |  |  | Job/Task No. |  |  | / |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Asset Entry No. |  | Task being undertaken: |  |  |  |  |  |  |
| Catchment Type | Domestic or Industrial |  |  |  |  |  |  |  |  |
| If industrial, do you have reports (Trade Waste OHS Notifications) on known Non-Compliant Discharge? |  |  |  |  |  | Yes | No |  |  |

Isolations

| Are isolations required? | No |  | Yes | If, yes, what type? | Electrical Isolation |  | Mechanical Isolation | Effluent Isolation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Isolations completed by: |  |  |  |  |  | Time |  | AM/ PM |
| Isolations verified by: |  |  |  |  |  | Time |  | AM/ PM |

Ventilation

| Is ventilation required? | No | Yes | If, yes, what type? | Natural ventilation | Forced (mechanical) ventilation |
| --- | --- | --- | --- | --- | --- |

Changing Work Conditions

| Are there conditions that may change the status of the confined space during occupancy |  |  |  |  |  | No |  | Yes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| If yes, what conditions? | Weather | Traffic | Flow Volume | Noise | Other |  |  |  |

Personal Protective Equipment

| Protective Clothing | Protective Footwear | High Vis Vest/ Clothing | Head Protection | Eye Protection | Fall Arrest | Hand Protection | Hearing Protection | Respiratory Protection | Other |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |

Pre-entry Atmosphere Test

| Gas detector: Inspected by: |  |  |  |  |  |  | Serial number: |  |  |  |  |  | Calibration date |  |  | / / |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Atmosphere test performed by: |  |  |  |  |  |  |  |  |  | Time |  |  |  |  | AM/ PM |  |  |
| Oxygen % |  | CO ppm |  |  | LEL % |  |  | H2S ppm |  |  |  | Ammonia ppm |  |  | VOC ppm |  |  |

Pre-entry fit check of air-supplied RPE, i.e. breathing apparatus (BA), if identified as a risk control measure for works

| RPE fit check conducted by: |  | Witnessed by: |  | Time | AM/ PM |
| --- | --- | --- | --- | --- | --- |
| RPE fit check conducted by: |  | Witnessed by: |  | Time | AM/ PM |
| RPE fit check conducted by: |  | Witnessed by: |  | Time | AM/ PM |
| RPE fit check conducted by: |  | Witnessed by: |  | Time | AM/ PM |

Permit Issue

| THIS PERMIT IS ONLY VALID FOR ONE DAY OR SHIFT |  |  |  |  |  |  |  |  | Date of issue: |  |  |  | / / |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Authorised person issuing permit: Name |  |  |  |  |  |  |  |  |  | Signature: |  |  |  | Time |  | AM/ PM |
| Permit Holder: Name |  |  |  |  |  |  |  |  |  | Signature: |  |  |  | Time |  | AM/ PM |
| Work Party |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |
| Name: |  |  |  | Signature: |  |  |  |  |  |  | Role: Entrant/ Standby Person/ Safety Observer/ Rescuer |  |  |  |  |  |

Confined Space Entry and Exit

| Entry |  | Exit |  | Entry |  | Exit |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Initial | Time | Initial | Time | Initial | Time | Initial | Time |

Re-entry/ Periodic Atmosphere Tests

| Atmosphere test performed by: |  |  |  |  |  |  |  | Time |  |  | AM/ PM |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Oxygen % |  | CO ppm |  | LEL % |  | H2S ppm |  |  | Ammonia ppm |  | VOC ppm |  |
| Atmosphere test performed by: |  |  |  |  |  |  |  | Time |  |  | AM/ PM |  |
| Oxygen % |  | CO ppm |  | LEL % |  | H2S ppm |  |  | Ammonia ppm |  | VOC ppm |  |
| Atmosphere test performed by: |  |  |  |  |  |  |  | Time |  |  | AM/ PM |  |
| Oxygen % |  | CO ppm |  | LEL % |  | H2S ppm |  |  | Ammonia ppm |  | VOC ppm |  |
| Atmosphere test performed by: |  |  |  |  |  |  |  | Time |  |  | AM/ PM |  |
| Oxygen % |  | CO ppm |  | LEL % |  | H2S ppm |  |  | Ammonia ppm |  | VOC ppm |  |
| Atmosphere test performed by: |  |  |  |  |  |  |  | Time |  |  | AM/ PM |  |
| Oxygen % |  | CO ppm |  | LEL % |  | H2S ppm |  |  | Ammonia ppm |  | VOC ppm |  |

Permit Cancellation

| Authorised person closing permit: Name |  | Signature: |  | Time | AM/ PM |
| --- | --- | --- | --- | --- | --- |

Permits shall be retained for a minimum of 30 days after the work is completed, or for two years in the event of a notifiable incident.

Emergency Procedures (Rescue Plan)

| Activity Description (tick if applicable) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Attached ☐ |  | Detached ☐ | Excavations ☐ | Sewer/ Water Wells ☐ |
| Equipment/ Resources | ☐ Tripod ☐ Multipod ☐ Davit Arm, Winch & Cable (Lifeline) ☐ Anchorage ☐ Stretcher (including folding stretcher/ Spineboard stretcher/ ‘SKED’ Rescue Stretcher) ☐ Safety Harness(es) ☐ Lanyard(s) ☐ Static Line ☐ Gas Detector: ☐ (Personal) ☐ (For Work Area) ☐ Self-rescue breathing apparatus (SRBA), e.g. ‘Oxyboks’ ☐ Air-supplied RPE, i.e. breathing apparatus (BA) – adequately charged individual cylinders for self contained BA ☐ Mobile Phone on Site ☐ Two Way Radios ☐ Extra Personnel: |  |  |  |
| Emergency Procedure | ☐ Call 000 (or 112 from mobile phone) ☐ Rescue Person/s with air-supplied RPE enters ☐ Place SRBA over crew member in space ☐ Winch person from space ☐ Attach Lifeline ☐ Remove person from space using stretcher ☐ Administer First Aid – name/s of trained first aider/s: ☐ Other: |  |  |  |

Emergency procedures shall be rehearsed prior to works commencing.